## Product Information Form
Version 1.1.3
Company Name:
Production Location* (City, State/Province, Country):
*Please complete a separate PIF for each production location.
2. Product Literature - Please check in each box below to verify that the following is attached:
3. Product Characteristics / Questions
a) Please select the chemical type for this product information form (PIF). Only one chemical type per PIF.
<Select Chemical Name>
b) Please complete the table below for each product you would like to Certify (one product per line).
*Not to appear in Listings
Trade Name | Product Function | 2nd Function (optional) |  | Maximum Use Level (MUL) | Units | Strength of Chemical* | Use Instructions Required*
Example: Phosphate Plus+ | Corrosion Control (COR) | <Select Function> |  | 20 | mg/L | 50% | No
| <Select Function> | <Select Function> |  |  | mg/L |  | No | 0
| <Select Function> | <Select Function> |  |  | mg/L |  | No | 0
| <Select Function> | <Select Function> |  |  | mg/L |  | No | 0
| <Select Function> | <Select Function> |  |  | mg/L |  | No | 0
| <Select Function> | <Select Function> |  |  | mg/L |  | No | 0
| <Select Function> | <Select Function> |  |  | mg/L |  | No | 0
| <Select Function> | <Select Function> |  |  | mg/L |  | No | 0
| <Select Function> | <Select Function> |  |  | mg/L |  | No | 0
| <Select Function> | <Select Function> |  |  | mg/L |  | No | 0
<<Listing note will appear here if required for chemical type>>
c) Chemical type dependant questions:
None
d) Function dependent information requirements:
None
e) Indicate the physical form of this product:
f) Indicate whether this product is a blend, dilution, relabel, or a manufactured chemical.
|  |  | ? |  |  |  |  | FALSE
|  |  | ? |  |  |  |  | FALSE
|  |  | ? |  |  |  |  | FALSE
|  |  | ? |  |  |  |  | FALSE
5. Testing is required for some water sources when water is present in the finished product:
1
If water is present in the finished product; how many Type B water sources are used? | [7 empty] | <Select>
0
1
2
3
Product Information Form
Treatment Chemicals
NSF/ANSI Standard 60
Treatment Chemicals & Media
Example products:
Sodium hypochlorite, Sodium hydroxide,
Hydrochloric acid, Phosphoric acid, Reverse osmosis antiscalants, Fluoride, Chlorine gas, Copper sulfate, Well drilling aids
Type A Water = Water that does NOT require testing
Deionized water, distilled water, demineralized water, recirculated water within the plant originating from a potable source, water treated on-site to potable water quality with the exception of disinfection, potable water that is further treated with a reverse osmosis system, softened municipal water, potable well water, well water treated on-site to potable quality or a higher purity grade, condensate water originating from a potable source.
Type B Water = Water that requires testing
Untreated surface water, non-potable well water, untreated rain water or water collected from other non-potable sources.

## Chemical Names & Functions
Chemical Name | Typical Function | Alternate Functions | Listing Text1 | Chemical Type Question 1 | Chemical Type Instructions |  |  | Function | Use instructions required
<Select Chemical Name> |  |  | <<Listing note will appear here if required for chemical type>> |  |  |  |  | <Select Function> | No
Acetic Acid | Other |  |  |  |  | ? | Solid | Antifoamer (ATF) | No
Acrylamido-2-methylpropanesulfonate (AMPS) |  | Reverse Osmosis Antiscalant |  |  |  | Yes | <Select> | Algicide (ALG) | No
Aluminum Chloride | Coagulation & Flocculation |  | Based on an evaluation of health effects data, the level of aluminum in the finished drinking water should not exceed 2 mg/L. | Are recycled or reprocessed metals used in this product? |  | No | Liquid | Antifreeze (ANF) | No
Aluminum Chlorohydrate | Coagulation & Flocculation |  | Based on an evaluation of health effects data, the level of aluminum in the finished drinking water should not exceed 2 mg/L. | Are recycled or reprocessed metals used in this product? |  |  | Gas | Antioxidant (AOX) | No
Aluminum Chlorohydrate/Polyaluminum Chloride | Coagulation & Flocculation |  | Based on an evaluation of health effects data, the level of aluminum in the finished drinking water should not exceed 2 mg/L. | Are recycled or reprocessed metals used in this product? |  |  |  | Bactericide (BAC) | No
Aluminum Hydroxychloride | Coagulation & Flocculation Filtration Aid |  | Based on an evaluation of health effects data, the level of aluminum in the finished drinking water should not exceed 2 mg/L. | Are recycled or reprocessed metals used in this product? |  |  |  | Chloramination (CMN) | No
Aluminum Sodium Sulfate | Coagulation & Flocculation |  | Based on an evaluation of health effects data, the level of aluminum in the finished drinking water should not exceed 2 mg/L. | Are recycled or reprocessed metals used in this product? |  |  |  | Coagulation and Flocculation (COF) | No
Aluminum Sulfate | Coagulation & Flocculation |  | Based on an evaluation of health effects data, the level of aluminum in the finished drinking water should not exceed 2 mg/L. | Are recycled or reprocessed metals used in this product? |  |  |  | Corrosion & Scale Control (CSC) | No
Amino, tris(methylene phosphonic acid) (ATMP) |  | Reverse Osmosis Antiscalant | [5 empty] | Disinfection & Oxidation (DSF) | No | Non-chlorinated disinfection chemicals require FIFRA registration prior to sale in the United States. If this description applies to your product, provide this documentation or speak to your account manager regarding alternative options..
Aminotrimethylene Phosphonic Acid |  | Reverse Osmosis Antiscalant | [5 empty] | Corrosion Control (COR) | No
Ammonium Chloride | Chloramination | [6 empty] | Dechlorination (DCL) | No
Ammonium Hydroxide & Anhydrous Ammonia | Chloramination Disinfection & Oxidation Ozone Reduction pH Adjustment/Oxidant | [6 empty] | Dechlorinator & Antioxidant (DCA) | No
Ammonium Sulfate | Chloramination Disinfection & Oxidation | [6 empty] | Defluoridation (DFL) | No
Ascorbic Acid | Dechlorinator & Antioxidant Dechlorination | [6 empty] | Descaler (DSC) | No
Bentonite | Well Sealant | Coagulation & Flocculation Well Drilling Aid | [5 empty] | Drilling Fluid (DRF) | Yes
Blended Coagulation Chemicals | Coagulation & Flocculation |  |  |  | A blend of two or more non-polymeric chemicals used in coagulation and flocculation. |  |  | Filtration Aid (FLA) | No
Blended Corrosion Inhibitor | Corrosion & Scale Control Sequestering |  |  |  | A phosphate blend containing at least two active & distinct phosphate species, each >/= 5% of the total dry weight. The total non-phosphate ingredients shall be < 50% of total dry weight, and 1 or more ingredients > 5%. |  |  | Flocculant (FLC) | No
Blended Phosphates | Corrosion & Scale Control Sequestering |  |  |  | A phosphate blend containing at least two active & distinct phosphate species, each >/= 5% of the total dry weight. The total non-phosphate ingredients shall be </= 10% of total dry weight, and no single ingredient > 5%. |  |  | Fluoridation (FLR) | No
Bromochlorodimethylhydantoin | Disinfection & Oxidation Algicide Bactericide |  | The residual levels of chlorine (hypochlorite ion and hypochlorous acid), chlorine dioxide, chlorate ion, chloramine and disinfection by-products should be monitored in the finished drinking water to ensure compliance to all applicable regulations. |  |  |  |  | Foaming Agent (FOA) | Yes
Calcium Carbonate | Filtration Aid pH Adjustment Corrosion Control | [6 empty] | Ion Exchange Supplement (IES) | No
Calcium Chloride | Defluoridation | [6 empty] | Membrane Cleaner (MBC) | Yes
Calcium EDTA | [7 empty] | Molluscicide (MOL) | No
Calcium Hydroxide | pH Adjustment Precipitation Agent | [6 empty] | Other (OTH) | Yes
Calcium Hypochlorite | Disinfection & Oxidation Algicide Molluscicide Oxidant |  | The residual levels of chlorine (hypochlorite ion and hypochlorous acid), chlorine dioxide, chlorate ion, chloramine and disinfection by-products should be monitored in the finished drinking water to ensure compliance to all applicable regulations. | Please Indicate the final concentration of the end product w/w% |  |  |  | Oxidant (OXI) | No
Calcium Oxide | pH Adjustment Precipitation Agent | [6 empty] | pH Adjustment (PHA) | No
Calcium Polysulfide | Precipitation Agent | [6 empty] | Pipe Cleaning Aid (PCA) | Yes
Calcium Thiosulfate | Dechlorination Ozone Reduction |  | This product is to be used for the destruction of residual chlorine. It should be applied only to the extent necessary to ensure chlorine removal. Actual chlorine concentration in the water should be used to calculate the necessary dose of calcium thiosulfate. |  |  |  |  | Precipitation Agent (PPT) | No
Carbon Dioxide | pH Adjustment |  |  |  | Gases that are purified through filtration/adsorption to change the gas composition are considered manufactured products. If purchased gas is not changed except to change the container size/packaging/ownership, then it is considered a repackage. |  |  | Reverse Osmosis Antiscalant (ROA) | No
Chlorine | Disinfection & Oxidation Algicide |  | The residual levels of chlorine (hypochlorite ion and hypochlorous acid), chlorine dioxide, chlorate ion, chloramine and disinfection by-products should be monitored in the finished drinking water to ensure compliance to all applicable regulations. |  |  |  |  | Reverse Osmosis Membrane Biocide (ROB) | Yes
Chlorine Dioxide Ingredients | Disinfection & Oxidation Bactericide | [6 empty] | Scale Control (SCC) | No
Chlorine Dioxide, Liquid | Disinfection & Oxidation Bactericide |  | The residual levels of chlorine (hypochlorite ion and hypochlorous acid), chlorine dioxide, chlorate ion, chloramine and disinfection by-products should be monitored in the finished drinking water to ensure compliance to all applicable regulations. |  |  |  |  | Sequestering (SEQ) | No
Citric Acid | pH Adjustment | Membrane Cleaner Well Cleaning Aid | [5 empty] | Softener (SFT) | No
Copper ethanolamine complexes |  | Algicide | [5 empty] | Tracer Dye (TRD) | No
Copper Sulfate | Algicide Bactericide |  | The use of copper sulfate as an algicide may increase the amount of copper present in the finished drinking water. Following use of this product, the finished drinking water should be monitored to ensure that levels of copper do not exceed regulatory requirements. |  |  |  |  | Well Cleaning Aid (WCA) | Yes
Copper triethanolamine complexes |  | Algicide | [5 empty] | Well Drilling Aid (WDA) | Yes
Dicalcium Orthophosphate | Defluoridation | [6 empty] | Well Pump Lubricant (WPL) | Yes
Diethylenetriamine penta (methylene Phosphonic Acid) |  | Reverse Osmosis Antiscalant Distillation Antiscalant | [5 empty] | Well Rehabilitation Aid (WRA) | Yes
Dipotassium Orthophosphate | Corrosion & Scale Control pH Adjustment Sequestering | [6 empty] | Well Sealant (WGS) | Yes
Disodium Orthophosphate | Corrosion & Scale Control Sequestering
Disodium Pyrophosphate | Corrosion & Scale Control Sequestering
Ethylenediamine tetraacetic acid (EDTA) |  | Appropriate functions have not been determined at this time
Ferric Chloride | Coagulation & Flocculation |  |  | Are recycled or reprocessed metals used in this product?
Ferric Sulfate | Coagulation & Flocculation |  |  | Are recycled or reprocessed metals used in this product?
Ferrous Chloride | Coagulation & Flocculation |  |  | Are recycled or reprocessed metals used in this product?
Ferrous Sulfate | Coagulation & Flocculation |  |  | Are recycled or reprocessed metals used in this product?
Fluorosilicic Acid | Fluoridation
Fluosilicic Acid | Fluoridation
Hectorite |  | Appropriate functions have not been determined at this time
Hemipotassium Phosphate | Corrosion & Scale Control Sequestering
Hydrochloric Acid | pH Adjustment Descaler Corrosion & Scale Control Scale Control
Hydrofluosilicic Acid | Fluoridation
Hydrogen Peroxide | Oxidant Dechlorination Bactericide Disinfection & Oxidation
Hydroxyethylidene Diphosphonic Acid |  | Distillation Antiscalant Reverse Osmosis Antiscalant
Hypochlorous Acid | Disinfection & Oxidation
Iodine | Disinfection & Oxidation
Magnesium Carbonate Hydroxide | pH Adjustment
Magnesium Hydroxide | pH Adjustment Precipitation Agent |  | The finished drinking water should be monitored to ensure that levels of manganese do not exceed 0.05 mg/L.
Magnesium Oxide | pH Adjustment Precipitation Agent |  | The finished drinking water should be monitored to ensure that levels of manganese do not exceed 0.05 mg/L.
Manganese Sulfate |  | Appropriate functions have not been determined at this time | The finished drinking water should be monitored to ensure that levels of manganese do not exceed 0.05 mg/L.
Miscellaneous Chemical Products |  | Formulation Depenent |  | Please provide the chemical name for this product. | This chemical type is appropriate for complex or proprietary chemicals or chemical mixtures that are not covered under Miscellaneous Water Supply Products or Miscellaneous Treatment Application/Chemical.
Miscellaneous Corrosion Chemicals | Corrosion & Scale Control Sequestering |  |  |  | These phosphate and/or silicate containing products do not fit the Blended Phosphates or Blended Corrosion Inhibitors descriptions. One active phosphate or silicate species must be present at >/=5% of the product’s total dry weight.
Miscellaneous Treatment Applications |  | Formulation Depenent |  | Please provide the chemical name for this product. | This chemical type is appropriate for products generally applied directly to the water supply and are intended to be included in the finished water.
Miscellaneous Treatment Chemical |  | Formulation Depenent |  | Please provide the chemical name for this product. | This chemical type is appropriate for products generally applied directly to the water supply and are intended to be included in the finished water.
Miscellaneous Water Supply Products |  | Formulation Depenent |  | Please provide the chemical name for this product. | Appropriate for products used intermittently and usually flushed from the water supply system prior to use or intended for limited drinking water contact.
Mn Greensand | Oxidation
Monocalcium Phosphate | Corrosion & Scale Control Sequestering Descaler
Monopotassium Orthophosphate | Corrosion & Scale Control Sequestering
Monosodium Orthophosphate | Corrosion & Scale Control Sequestering
Nitric Acid |  | Appropriate functions have not been determined at this time
Oxygen | Ozone Reduction Oxidant |  |  |  | Gases that are purified through filtration/adsorption to change the gas composition are considered manufactured products. If purchased gas is not changed except to change the container size/packaging/ownership, then it is considered a repackage.
Phosphonobutane-1,2,4-tricarboxylic acid, 2- |  | Distillation Antiscalant Reverse Osmosis Antiscalant
Phosphoric Acid | Corrosion & Scale Control Sequestering
Poly (Diallyldimethylammonium Chloride)(pDADMAC) | Coagulation & Flocculation Flocculant
Polyacrylamide | Coagulation & Flocculation Flocculant | Well Drilling Aid | Polyacrylamide Products Certified by NSF International comply with 40 CFR 141.111 requirements for percent monomer and dose.
Polyacrylic Acid | Corrosion & Scale Control | Reverse Osmosis Antiscalant
Polyaluminum Chloride | Coagulation & Flocculation |  |  | Are recycled or reprocessed metals used in this product?
Polyaluminum Chloride/Aluminum Hydroxychloride | Coagulation & Flocculation |  |  | Are recycled or reprocessed metals used in this product?
Polyaluminum Chlorosulfate | Coagulation & Flocculation |  |  | Are recycled or reprocessed metals used in this product?
Polyaluminum Ferric Chloride | Coagulation & Flocculation |  |  | Are recycled or reprocessed metals used in this product?
Polyaluminum Hydroxychlorosulfate | Coagulation & Flocculation |  |  | Are recycled or reprocessed metals used in this product?
Polyaluminum Hydroxychlorosulfate | Coagulation & Flocculation |  |  | Are recycled or reprocessed metals used in this product?
Polyaluminum Silicate Sulfate | Coagulation & Flocculation |  |  | Are recycled or reprocessed metals used in this product?
Polyaluminum Sulfate | Coagulation & Flocculation |  |  | Are recycled or reprocessed metals used in this product?
Polyamines | Coagulation & Flocculation |  | Polyamines Certified by NSF International comply with 40 CFR 141.111 requirements for percent monomer and dose.
Polymaleic Acid |  | Reverse Osmosis Antiscalant Distillation Antiscalant
Polymer Blends | Coagulation & Flocculation |  |  |  | A blend containing 1 or more organic polymer and/or inorganic water treatment chemicals.
Polyphosphoric Acid | Corrosion & Scale Control Sequestering
Potassium Carbonate | Corrosion & Scale Control pH Adjustment
Potassium Chloride | Softener
Potassium Fluoride | Fluoridation
Potassium Hydroxide (caustic potash) | Corrosion & Scale Control pH Adjustment
Potassium Permanganate | Disinfection & Oxidation Oxidant |  | The finished drinking water should be monitored to ensure that levels of manganese do not exceed 0.05 mg/L.
Potassium Tripolyphosphate | Corrosion & Scale Control Sequestering
Silica Dioxide | Coagulation & Flocculation
Sodium Acid Pyrophosphate | Corrosion & Scale Control Sequestering
Sodium Aluminate | Coagulation & Flocculation
Sodium Ascorbate | Dechlorinator & Antioxidant Dechlorination
Sodium Bicarbonate | Corrosion & Scale Control pH Adjustment
Sodium Bisulfate | Dechlorination Corrosion & Scale Control pH Adjustment
Sodium Bisulfite | Dechlorinator & Antioxidant |  | This product contains sulfite. Sulfites have been known to cause potentially lethal allergic reactions in sulfite-sensitive individuals. The maximum recommended allowable residual sulfite level in the finished drinking water is 100 ppb (0.1 mg/L).
Sodium Carbonate | Corrosion & Scale Control pH Adjustment
Sodium Chlorate | Disinfection & Oxidation
Sodium Chloride | Softener | Other (On-site disinfectant generators) |  | For 'Other: on-site disinfectant generators': Provide your specification for the maximum bromide content in NaCl. The value cannot exceed 54 mg Br / kg salt.
Sodium Chlorite | Disinfection & Oxidation Algicide Bactericide
Sodium Dichloroisocyanurate | Disinfection & Oxidation Algicide
Sodium Fluoride | Fluoridation
Sodium Hydroxide | Corrosion & Scale Control pH Adjustment
Sodium Hypochlorite | Algicide Bactericide Disinfection & Oxidation |  | The residual levels of chlorine (hypochlorite ion and hypochlorous acid), chlorine dioxide, chlorate ion, chloramine and disinfection by-products should be monitored in the finished drinking water to ensure compliance to all applicable regulations. | Please indicate the final concentration of the end product w/w%.
Sodium Metabisulfite | Dechlorinator & Antioxidant
Sodium Percarbonate | Disinfection & Oxidation Algicide Oxidant
Sodium Permanganate | Disinfection & Oxidation Oxidant
Sodium Polyacrylate |  | Distillation Antiscalant Reverse Osmosis Antiscalant
Sodium Polyphosphates, Glassy | Corrosion & Scale Control Sequestering
Sodium Sequicarbonate | Corrosion & Scale Control pH Adjustment
Sodium Silicate | Corrosion & Scale Control Sequestering
Sodium Silicofluoride | Fluoridation
Sodium Sulfite | Dechlorinator & Antioxidant |  | This product contains sulfite. Sulfites have been known to cause potentially lethal allergic reactions in sulfite-sensitive individuals. The maximum recommended allowable residual sulfite level in the finished drinking water is 100 ppb (0.1 mg/L).
Sodium Trimetaphosphate | Corrosion & Scale Control Sequestering
Sodium Tripolyphosphate | Corrosion & Scale Control Sequestering
Stannous Chloride |  | Appropriate functions have not been determined at this time
Starch | Coagulation & Flocculation
Sulfur Dioxide | Dechlorinator & Antioxidant
Sulfuric Acid | Corrosion & Scale Control pH Adjustment
Tetrapotassium Pyrophosphate | Corrosion & Scale Control Sequestering
Tetrasodium Pyrophosphate | Corrosion & Scale Control Sequestering
Titanium Dioxide | Adsorption
Tricalcium Orthophosphate | Corrosion & Scale Control Sequestering
Trichloroisocyanuric Acid | Disinfection & Oxidation Algicide
Tripotassium Orthophosphate | Corrosion & Scale Control Sequestering
Trisodium Orthophosphate | Corrosion & Scale Control Sequestering
Zinc Chloride | Corrosion & Scale Control |  | Based on an evaluation of health effects data, the level of zinc in the finished drinking water should not exceed 2.0 mg/L.
Zinc Orthophosphate | Corrosion & Scale Control |  | Based on an evaluation of health effects data, the level of zinc in the finished drinking water should not exceed 2.0 mg/L. |  | The Zinc Orthophosphate description shall be acceptable when the molar equivalent ratio of the zinc ion to the phosphate ion is </=1.5, as indicated in the formulation. Otherwise, the product shall be namded Miscellaneous Corrosion Chemical.
Zinc Oxide |  | Appropriate functions have not been determined at this time
Zinc Polyphosphate | Corrosion & Scale Control Sequestering |  | Based on an evaluation of health effects data, the level of zinc in the finished drinking water should not exceed 2.0 mg/L.
Zinc Sulfate | Corrosion & Scale Control |  | Based on an evaluation of health effects data, the level of zinc in the finished drinking water should not exceed 2.0 mg/L.